## Slide 1: Integrated Alarm System for the ALMA Observatory
Achitecture
Alessandro Caproni
ESO Software Development Division

## Slide 2: ALMA alarm systems
Alarms and monitor points
Operator panels
Software systems
Integrated Alarm System

## Slide 3: Development study

## Slide 4: Current status
Vague and confused ideas
A growing prototype

## Slide 5: IAS core – Distributed Alarm System Units
Outputs
DASUs
Inputs

## Slide 6: IAS core – Alarm System Computing Elements
DASU
CONVERSION LAYER
ASCE1
ASCE2
ASCE3
ASCE4
ASCE5
ASCE6
ASCE7

## Slide 7: IAS Core – Alarm System Computing Element
∑∑
out =∑1..n(….)
out
1
n
Inputs sent on changes
out refreshed at a given time interval
Validity
Inputs and output share the same type

## Slide 8: ∑ (AKA Transfer Function)
∑ brief calculation on the inputs
∑ no remote access or I/O
∑ Dynamically load from CDB
Implementation
  Java/scala
  Python?
  DSL?

## Slide 9: ASCE state machine
INIT
Load TF
Init TF
HEALTHY
Run TF
TF BROKEN
Idle
TF SLOW
Run TF
SHUTDOWN
Shut down TF
CLOSED
initialized
shutdown
shutdown
shutdown
shutdown
close
broken
slow
normal

## Slide 10: Putting all together
Server 1
Server 2
JVM1
JVM1
JVM2

## Slide 11: Identifiers
DASU
CONVERSION PLUGIN
ASCE1
ASCE2
ASCE3
ASCE4
ASCE5
ASCE6
ASCE7
ARRAY01@
CURRENT@POWERP@PWDASU
ASC4@ARRAY01
DBCONVERTER@ARRAY01
TEMP@DBCONVERTER@ARRAY01
LOCKED@ASC5@ARRAY01

## Slide 12: Communication with subsystems
Power plant
BSDB
Online
Weather
IAS server(s)

## Slide 13: Communications
HIOs passing between ASCEs and DASUs
Commands (to DASUs, from GUIs..)
GUIs
(RTI)DDS?
Message passing (ZMQ, ActiveMQ..)?
Actors (Akka)?
…

## Slide 14: Back stage DB
HIOs produced at run time
High load (reading/writing HIOs, logs, commands)
GUIs read HIOs from there
Cassandra already in use for monitoring seems a good candidate

## Slide 15: Configuration DB
Stores HIOs, ASCE, DASUs configuration
Deployment configuration
A RDB suffices here (Oracle? Mysql?)
On files (JSON, XML..)?
Cassandra could be evaluated if we want to use only one technology

## Slide 16: GUIs
Roles
Web server (JS, angular?)
Java FX for local (command line) GUIs
Google/apple notifications for mobile
Nice to have: support for mobile applications

## Slide 17: Prototype
Infrastructure (ant, jenkins, git…)
scala, java, python, shell
Implementation
  Logging
  HIO types
  ASCE with ∑ (scala/java)
  DASU (on going)

## Slide 18: That’s all!

## Slide 19: ∑ example: multiplicity
def eval(compInputs: Map[String, HeteroInOut], actualOutput: HeteroInOut): HeteroInOut = {
if (compInputs.size<threshold) throw new UnexpectedNumberOfInputsException(compInputs.size,threshold)
if (actualOutput.iasType!=ALARM) throw new TypeMismatchException(actualOutput.id.runningID,actualOutput.iasType,ALARM)
for (hio <- compInputs.values
if hio.iasType!=ALARM) throw new TypeMismatchException(actualOutput.id.runningID,hio.iasType,ALARM)
// Get the number of active alarms in input
var activeAlarms=0
val numOfActiveAlarms = for {
hio <- compInputs.values
alarmValue = hio.actualValue.get.value.asInstanceOf[AlarmValue]
if (alarmValue.alarmState==AlarmState.Active)} activeAlarms=activeAlarms+1
// Update the output
if (activeAlarms>=threshold) {
actualOutput.updateValue(AlarmValue.transition(actualOutput.actualValue.get.value.asInstanceOf[AlarmValue], new Set()))
} else {
actualOutput.updateValue(AlarmValue.transition(actualOutput.actualValue.get.value.asInstanceOf[AlarmValue], new Clear()))
}
}